## Slide 1: Transverse emittance measurements from FWS
C. Zannini

## Slide 2: How the equipment works
The wire scanners allow measurement of the emittance
of each individual bunch of protons with negligible perturbation to the circulating beams.
These devices are used to follow the emittance evolution during storage.
The beam energy is limited by the heating of the wire by the beam, which increases with energy

## Slide 3: Application

## Slide 4
Modes of acquisitions:
-Turn acquisition
-bunch by bunch acquisition
(due to memory limits the number of bunch is limited)
The fit of visualized data is different from the fit of exported data.
> 700
Define device
Limitations at high beam intensity
Output values
Setting mode of operation and lattice.
Send data after setting!
Starts wire scanner acquisition

## Slide 5
Data Reading: Examples

## Slide 6
Data Reading: Examples