## Slide 1: Beam-beam deflection during Van der Meer scans
T. Pieloni for the BB team with W. Kozanecki
Acknowledgments: X. Buffat, D. Banfi, W. Herr, G. Iadarola, K. Lee, R. Tomas

## Slide 2: Luminosity Basics
Mean number of inelastic interactions per Bunch crossing
Inelastic cross section (unknown)
mvis = e*m = Mean number of interactions per Bunch crossing seen by detector
Cross section seen by detector
svis is determined in dedicated fills based on beam parameters
W. Kozanecki
Ref. S. Van der Meer, “Calibration of the Effective Beam Height in the ISR”
CERN-ISR-PO-68-31, 1968.

## Slide 3
Van der Meer Scans
Luminosity in terms of beam densities r1 and r2 in machine:
Gaussian beams and uncorrelated x & y components no crossing angle:
Luminosity in general

## Slide 4: Calibrating svis during van der Meer Scans
Measured by beam instrumentation
Measured in VdM scan
Detector independent
Detector dependent
mvisMax
Sx
W. Kozanecki
Gaussian fit of Lumi scans to extrapolate
mvisMax and Sx

## Slide 5: Van der Meer scans and Beam-beam
Beam-Beam force
Ref. M. Venturini and W. Kozanecki, SLAC-PUB-8700
J. Wenninger, SL Note 96-01 (OP)
Beam-beam angular kick:

## Slide 6: Beam-Beam deflection angles and orbit in the LHC: model for round and non-round beams
Closed Orbit effect:
Deflections:
Bassetti-Erskine formula:

## Slide 7: Beam-beam deflection during VdM Scans:
Analytical calculations using round Gaussian beams
Analytical estimates
Angular kicks less than mrad depends on separation and offset in non scan plane
Orbit effects less than mm
In both planes if offsets scan
X-plane
Y-plane

## Slide 8: Impact on Luminosity measurements:
Analytical calculations using round Gaussian beams 1 IP
1 s offset
2 s offset
4 s offset
Orbit effect small but impact on luminosity high precision measurements not negligible

## Slide 9
Lwith bb kick /Lno kick (%)
Horiz. beam separation Dx (m)
~ 3 %
L / Lpeak (%)
Horiz. beam separation Dx (m)
Dy = 0
b-b orbit kick
neglected
b-b orbit kick
included
mvisMax
mvisMax
Sx
Direct impact on mvisMax and
Sx
Impact on Luminosity measurements:
W. Kozaneski

## Slide 10
Not negligible effect:
Like for dynamic beta effect, it has to be taken into account!
How will this affect 2011 and 2012 results? Under study.
BBScan.py: to test the BB routine, available for estimates
BB.py: calculation routine uses Bassetti-Erskine general formula and computes kicks and orbit effects
BassErsk: to calculate the electric fields Ref. CERN-ISR-TH/80-06.
H in-plane scan
H out-plane scan 2s
We provided them a Python routine to be implemented in their luminosity calculations to calculate the bb orbit effect for given beam parameters

## Slide 11: Example: non-round beams 1 IP
H in-plane scan
H out-plane scan 1s

## Slide 12
H in-plane scan
H out-plane scan 1s
Example 2 non-round beams

## Slide 13: MADX vs analytical model IP1 scan H
VdM scans May 2011 beam parameters and optics
MADX to evaluate the effects for various configurations with multiple IPs
Study is on-going for VdM scan of 2011 and 2012

## Slide 14: Analytical versus self-consistent?
In the past estimates for some case with self consistent calculations
Comparison with non-self consistent confirms order of magnitude but real effect has to take into account both beams
Closed orbit effects for x = 0.003.
Simulated with TRAIN.
S. White from Lumi days 2011
Orbit effects for x = 0.003, analytical model
TRAIN code estimates needed and work is on-going

## Slide 15: Impact of long-range encounters on L scans: data
m-Scan I
m-Scan II
May 2011
vdM scan
Total # Long-Range Encounters
IP 1+ 5 + 8
IP 1+ 5
m-Scan I
m-Scan II
Orbit drift
W. Kozanecki

## Slide 16: Summary
Beam-beam orbit effects during Van der Meer scans for high presicion Lumi measurements are important and have to be taken into account
Studies of impact on 2011 and 2012 VdM scan measurements are on-going
Analytical calculations were done and Python routine provided to the experiments for evaluations for single IP scans impact
Experiments in the process to evaluate impact on their estimates of Lumi for 2011
MADX study on-going to provide estimates for more complex configurations with multiple IPs, preliminary results available for VdM May 2011
In the future estimate the change due to self consistent orbit effects from BB with the TRAIN code, correct treatment.
Analyze measurements data and compare with estimates
Evaluate cases for after LS1 (different optics options and beam parameters)

## Slide 17: In addition:
Multi-particle simulations
(work started M. Schubiger EPFL student):
Any particle distribution allowed
Leaves particle distribution evolve in time
Time consuming simulations…will need time to conclude if needed!
Ds / s 0 (per turn)
T. Pieloni, W.Herr and J.Qiang, PAC09
Is there something more during VdM scans?
Are distributions modified?
How different initial distribution will change the results? Bunches with tails from injectors
Emittance growth?